## (KIT) Renewals, Previous test
INSTRUCTIONS FOR FILLING THIS FORM: 1. Include the name of the product that has already been fully tested (from which you want to reference results) in Column C. 2. Include the name of the product you are submitting for testing (the variation of the Product in Column C) in Column D, E, F, ect. 3. Provide information for ALL yellow cells for each product variation. If the aspect is the same it is acceptable to write "no change" or "same" in Column D, E, F, etc. 4. If you are creating a product family, answer these questions in the Family Variation Details sheet.
| Element | Primary Product/Kit | Current Variation 1 | Current Variation 2 | Current Variation 3 | Current Variation 4
|  | Enter the kit that has been previously tested or renewed here. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product.
|  | [insert name] | [insert name] | [insert name] | [insert name] | [insert name]
Performance
Full-battery run time for each light output level
Solar run time for each light output level
Any other differences in the performance?
Light source
Light point type 1
Number of light points (e.g. number of lamps)
Number of light output levels
Luminous flux for each light output level
Light point manufacturer
Light point housing size and lens cover type
Is there a Constant Current Regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range
Type (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of light sources (e.g. number of LEDs per lamp)
Current to the LEDs
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the light source?
Light point type 2
Number of light points (e.g. number of lamps)
Number of light output levels
Luminous flux for each light output level
Light point manufacturer
Light point housing size and lens cover type
Is there a Constant Current Regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range
Type (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of light sources (e.g. number of LEDs per lamp)
Current to the LEDs
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the light source?
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Wp at STC
Isc at STC
Voc at STC
PV Module Manufacturer
Strain Relief/Junction Box type (indicate any changes)
PV module cable manufacturer and markings
Any other differences in the PV module?
Is the PV module designed to bend or fold?
Does the PV module cable contain any Y-splitters or connectors that are intended to be used outdoors?
Does the outdoor connector have a IEC 60529 test report documenting an IP55 or higher rating?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Have any changes been made to the junction box, housing or other?
Does the PV module have IEC 61730, IEC 62790, or IEC 61215 certification? Enter YES (and which certificate you have) or NO
Other Energy Source
Type (e.g. mechanical dynamo, AC grid, etc.)
Additional details
Battery
Battery Pack Capacity (mAh)
Battery Cell Capacity (mAh) and number of cell in series and parallel
Chemistry (e.g. SLA, Li-ion, NiMh, etc.)
Battery Pack Nominal voltage (V)
Battery Cell Nominal voltage (V)
Battery Manufacturer
Cell size (e.g.14250, 26500, 32700)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Can the battery be isolated from the system by the user or installing technician without opening an enclosure that is not intended to be opened during installation, operation, or routine maintenance?
Is the battery connected to the system in such a way that it can become disconnected during shipping, installation, or normal operation and maintenance?
Additional details
Any other differences in the battery?
Electronic Circuits
Charge controller (description)
Lamp driver (type)
High/Low voltage disconnect
Mobile phone charging
Any other differences in the electronics?
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Balance of system components
Switches (number, type and detail any changes, including changes to manufacturer)
Cables (number, length, type and detail any changes, including changes to manufacturer)
Connectors (number, type and detail any changes, including changes to manufacturer)
Ports (number, type and any changes, including changes to manufacturer)
Any other differences in system components?
Ports
USB ports
USB ports (number of ports, type)
USB port (voltage range and current)
Is this USB port an output port? (intended for charging or powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Is this a fast charging port?
DC ports
DC port (number of ports, type)
DC port (voltage and current range)
Is this DC port an output port? (intended for charging or powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Other ports
Other ports (number and type)
Other ports (voltage and current range)
Is this an output port? (intended for charging or powering appliances?)
Are any of the ports powered directly by the PV module.
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Overall ports information
Have any changes been made to the manufacturing process? If so, what changes have been made?
Are there any ports that are not intended to charge or power appliances, e.g. data, audio and video inputs, HDMI, S-Video, antenna, Ethernet etc.?
Main Unit Housing
Material
Size (dimensions)
Handle(s) (description)
Ingress protection (e.g. gaskets, double flange, etc.)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the housing?
Consumer Facing Ratings
Brightness settings advertised on the packaging/user manual / website
Ingress protection advertised on the packaging/user manual/website(e.g. IPXX, waterproof, dustproof, water resistant etc.)
Run time combinations advertised on the packaging/user manual/website (e.g. lighting run time in combination with cell phone charging, torch use or radio use)
Advertised Appliances (e.g. radio, fan, TV; include description and power consumption of each advertised appliance)
Any other packaging differences?
Additional features / accessories / appliances
Does the component have PayG function? (Yes/ No)
Does the product include an AC-DC power supply or advertise charging time from an external DC power source?
[insert element]
[insert element]
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? Please indicate which appliances are being requested for additional testing.
Contact Information
Any change to company name, contact person, email, phone number or address (Renewal Only)
Company Information
Company Name for the product and / or product family being tested
Does the product and / or product family have a separate consumer-facing brand name on the packaging or user manual? If so, please indicate it here. Note, the consumer-facing brand name will be the name that appears on the VeraSol website upon certification.

## (KIT) New similar products
INSTRUCTIONS FOR FILLING THE FORM: 1. Include the name of the product that will be fully tested (from which you want to reference results) in Column C. 2. Include the name of the products you are submitting for testing (the variation of the Product in Column C) in Column D, E, F, etc. 3. Provide information for ALL yellow cells for each product variation. If the aspect is the same it is acceptable to write "no change" or "same" in Column D, E, F, etc 4. If you are creating a product family, answer these questions in the Family Variation Details sheet.
| Element | Primary Product/Kit | Current Variation 1 | Current Variation 2 | Current Variation 3 | Current Variation 4
|  | Enter the kit that you want to be fully tested here that will have results referenced | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product.
|  | [insert name] | [insert name] | [insert name] | [insert name] | [insert name]
Performance
Full-battery run time for each light output level
Solar run time for each light output level
Any other differences in the performance?
Light source
Light point type 1
Number of light points (e.g. number of lamps)
Number of light output levels
Luminous flux for each light output level
Light point manufacturer
Light point housing size and lens cover type
Is there a Constant Current Regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range
Type (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of light sources (e.g. number of LEDs per lamp)
Current to the LEDs
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the light source?
Light point type 2
Number of light points (e.g. number of lamps)
Number of light output levels
Luminous flux for each light output level
Light point manufacturer
Light point housing size and lens cover type
Is there a Constant Current Regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range
Type (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of light sources (e.g. number of LEDs per lamp)
Current to the LEDs
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the light source?
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Wp at STC
Isc at STC
Voc at STC
PV Module Manufacturer
Strain Relief/Junction Box type (indicate any changes)
PV module cable manufacturer and markings
Any other differences in the PV module?
Is the PV module designed to bend or fold?
Does the PV module cable contain any Y-splitters that are intended to be used outdoors?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Have any changes been made to the junction box, housing or other?
Does the PV module have IEC 61730, IEC 61215, or IEC 62790 certification? (Yes/No) and which certificate you have.
Other Energy Source
Type (e.g. mechanical dynamo, AC grid, etc.)
Additional details
Battery
Battery Pack Capacity (mAh)
Battery Cell Capacity (mAh) and number of cell in series and parallel
Chemistry (e.g. SLA, Li-ion, NiMh, etc.)
Battery Pack Nominal voltage (V)
Battery Cell Nominal voltage (V)
Battery Manufacturer
Cell size (e.g.14250, 26500, 32700)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Can the battery be isolated from the system by the user or installing technician without opening an enclosure that is not intended to be opened during installation, operation, or routine maintenance?
Is the battery connected to the system in such a way that it can become disconnected during shipping, installation, or normal operation and maintenance?
Additional details
Any other differences in the battery?
Electronic Circuits
Charge controller (description)
Lamp driver (type)
High/Low voltage disconnect
Mobile phone charging
Any other differences in the electronics?
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Balance of system components
Switches (number, type and detail any changes, including changes to manufacturer)
Cables (number, length, type and detail any changes, including changes to manufacturer)
Connectors (number, type and detail any changes, including changes to manufacturer)
Ports (number, type and any changes, including changes to manufacturer)
Any other differences in system components?
Ports
USB ports
USB ports (number of ports, type)
USB port (voltage range and current)
Is this an output port? (intended for charging or powering appliances?)
What appliances is this port advertised to power or charge?
Is this a fast charging port?
Any other difference in the ports regulation?
DC ports
DC port (number of ports, type)
DC port (voltage and current range)
Is this DC port an output port? (intended for charging or powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Other ports
Other ports (number and type)
Other ports (voltage and current range)
Is this DC port an output port? (intended for charging or powering appliances?)
Ports directly powered by PV module
Are any of the ports powered directly by the PV module? If Yes - Which ports?
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Overall ports information
Have any changes been made to the manufacturing process? If so, what changes have been made?
Are there any ports that are not intended to charge or power appliances, e.g. data, audio and video inputs, HDMI, S-Video, antenna, Ethernet etc.?
Housing
Material
Size (dimensions)
Handle(s) (description)
Ingress protection (e.g. gaskets, double flange, etc.)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the housing?
Consumer Facing Ratings
Brightness settings advertised on the packaging/user manual / website
Ingress protection advertised on the packaging/user manual/website(e.g. IPXX, waterproof, dustproof, water resistant etc.)
Run time combinations advertised on the packaging/user manual/website (e.g. lighting run time in combination with cell phone charging, torch use or radio use)
Advertised Appliances (e.g. radio, fan, TV; include description and power consumption of each advertised appliance)
Any other packaging differences?
Additional features / accessories / appliances
Does the component have PayG function? (Yes/ No)
Does the product include an AC-DC power supply or advertise charging time from an external DC power source?
[insert element]
[insert element]
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? Please indicate which appliances are being requested for additional testing.
Contact Information
Any change to company name, contact person, email, phone number or address (Renewal Only)
Company Information
Company Name for the product and / or product family being tested
Does the product and / or product family have a separate consumer-facing brand name on the packaging or user manual? If so, please indicate it here. Note, the consumer-facing brand name will be the name that appears on the VeraSol website upon certification.

## Optional Testing - Kit
Optional Testing: These tests are not required. Additional testing may increase testing costs and include additional VeraSol fees.
THIS FORM IS NOT REQUIRED AND IS FOR OPTIONAL TESTING ONLY INSTRUCTIONS FOR FILLING THE FORM: 1. Include the name of the product that will be fully tested (from which you want to reference results) in Column C. 2. Include the name of the products you are submitting for testing (the variation of the Product in Column C) in Column D, E, F, etc. 3. If you are creating a product family, answer these questions in the Family Variation Details sheet. 4. These tests are all optional. Please see the"Optional Testing Guide" for details on optional tests here: https://verasol.org/wp-content/uploads/2024/08/Product-Variation-Details-Guide-240606-V1.pdf. Additional testing may increase testing costs and include additional VeraSol fees.
| Element | Primary Product/Kit | Current Variation 1 | Current Variation 2 | Current Variation 3 | Current Variation 4
|  | Enter the kit that you want to be fully tested here that will have results referenced | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product.
|  | [insert name] | [insert name] | [insert name] | [insert name] | [insert name]
Light source
Light point type 1
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: The highest setting will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Light point type 2
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: The highest setting will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Electronic Circuits
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Consumer Facing Ratings
Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations.
Additional features / accessories / appliances
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? Please indicate which appliances are being requested for additional testing.
Charging efficiency testing for products appliances with internal batteries that charge from the main unit can be requested. Would you like the lab to test ant of the appliances for charging efficiency? Please indicate which appliances are being requested for additional testing.
For appliances with light points: Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Additional ESC Profiles
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
| Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations. |  | Combination 1 |  | Combination 2
|  |  | Combination 3 |  | Combination 4

## (FAMILY) Variation Details
STEP 1 |  |  | 1. Fill in the applicable yellow cells in table below with each kit or product name and model number in Column B (please list the kits from smallest to largest power). 2. In Rows 6 - 15, include the name and model number of each component included in the "family of products". 3. Enter the number of each component that is included in each kit in yellow cells. 4. Add rows or columns as needed.
| Product/Kit Name & Model Number | Does this kit need a Wh/day calculation? | Light Points |  |  |  | PV Modules |  |  |  | Batteries |  |  |  | Control Unit and Housing |  |  |  | Appliances
|  | [yes/no] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #5] | [Name / Model #6] | [Name / Model #7] | [Name / Model #8]
STEP 2 |  |  | Please fill in the applicable and relevant information below for each component in the product family in the yellow cells. Please ensure that the names of the components match those listed above in STEP 1. The grey cells do not need to be filled in. For rows that are not applicable to the component, enter "n/a".
| Element |  | Light Point 1 | Light Point 2 | Light Point 3 | Light Point 4 | PV Module 1 | PV Module 2 | PV Module 3 | PV Module 4 | Battery 1 | Battery 2 | Battery 3 | Battery 4 | Control Unit 1 | Control Unit 2 | Control Unit 3 | Control Unit 4 | Appliance 1 | Appliance 2 | Appliance 3 | Appliance 4 | Appliance 5 | Appliance 6 | Appliance 7 | Appliance 8
|  |  | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #]
Has this component been previously tested?
What is the model number?
Performance
Full-battery run time for each light output level
Solar run time for each light output level
Any other differences in the performance?
Light source
# of light points (e.g. number of lamps)
# of light output levels
Luminous flux for each light output level
Light point manufacturer
Light point housing size and lens cover type
Is there a constant current regulator (driver) in the lamps? (yes/no)
Operating voltage / voltage range [V]
Type (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of light sources (e.g. number of LEDs per lamp)
Current to the LEDs
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees. Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the light source?
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Wp [W]
Isc [A]
Voc at STC [V]
Manufacturer
Strain relief / junction box type (indicate any changes between PV modules)
PV module cable manufacturer / markings (indicate any changes between PV modules)
Any other differences in the PV modules?
Does the PV module cable contain any Y-splitters that are intended to be used outdoors?
Is the PV module designed to bend or fold?
Have any changes been made to the manufacturing process? If so, what changes have been made?
Have any changes been made to the junction box, housing or other?
Does the PV module have IEC 61730, IEC 61215, or IEC 62790 certification? (Yes/No) and which certificate you have. (Yes/No) If Yes, list which certificates you have.
Other energy source
Type (e.g. mechanical dynamo, AC grid, etc.)
Any additional details?
Battery
Battery capacity (mAh) (pack level)
Battery capacity (mAh) (cell level)
# of cells in series
# of cells in parallel
Battery chemistry (e.g. SLA, Li-ion, NiMh, etc.)
Battery nominal voltage (V) (pack)
Battery nominal voltage (V) (cell)
Battery manufacturer
Battery cell size (e.g.14250, 26500, 32700)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Can the battery be isolated from the system by the user or installing technician without opening an enclosure that is not intended to be opened during installation, operation, or routine maintenance?
Is the battery connected to the system in such a way that it can become disconnected during shipping, installation, or normal operation and maintenance?
Any additional details?
Any other differences in the battery?
Electronic Circuits
Charge controller (description)
Lamp driver (type)
High-voltage disconnect
Low-voltage disconnect
Mobile phone charging available?
Any other differences in the electronics?
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Balance of system components
Switches information (number, type, changes to manufacturer, etc.) (type and detail any changes)
Cable information (number, length, type, changes to manufacturer, etc.) (type and detail any changes)
Connector information (number, type, changes to manufacturer, etc.) (type and detail any changes)
Port information (number, type, changes to manufacturer, etc.) (type and detail any changes)
Any other differences in system components?
Ports
USB ports
Types and # of each
Voltage range [V]
Current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Is this a fast charging port?
Any other difference in the ports regulation?
DC ports
Types and # of each
Voltage range [V]
Current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Other ports (number and type)
Other ports (voltage and current range)
Is this an output port? (intended for charging or powering appliances)
Ports directly powered by PV module
Are any of the ports powered directly by the PV module? If Yes - Which ports?
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Overall ports information
Have any changes been made to the manufacturing process? If so, what changes have been made?
Are there any ports that are not intended to charge or power appliances? (e.g. data, audio/ videoinputs, HDMI, S-Video, antenna, Ethernet, etc.)
Housing
Material
Size (dimensions)
Handle(s) (description)
Ingress protection (e.g. gaskets, double flange, etc.)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the housing?
Consumer Facing Ratings
Brightness settings advertised on the packaging/user manual / website
Ingress protection advertised on the packaging/user manual/website (e.g. IPXX, waterproof, dustproof, water resistant etc.)
Run time combinations advertised on the packaging/user manual/website (e.g. lighting run time in combination with cell phone charging, torch use or radio use)
Power consumption
Any other packaging differences?
Additional features / accessories / appliances
Does the component have PayG function? (Yes/ No)
Does the product include an AC-DC power supply or advertise charging time from an external DC power source?
[insert element]
[insert element]
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Contact Information
Any change to company name, contact person, email, phone number or address? (Renewal Only)
Company Name for the product and/or product family being tested
Does the product and/or product family have a separate consumer-facing brand name on the packaging or user manual? If so, please indicate it here. Note: The consumer-facing brand name will be the name that appears on the VeraSol website upon certification.
Additional ESC Profiles
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
| Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations. |  | Combination 1 |  |  |  | Combination 2 |  |  |  | Combination 3 |  |  |  | Combination 4 |  |  |  | Combination 5 |  |  |  | Combination 6

## Optional Testing - Family
Optional Testing: These tests are not required. Additional testing may increase testing costs and include additional VeraSol fees.
STEP 1 |  |  | THIS FORM IS NOT REQUIRED AND IS FOR OPTIONAL TESTING ONLY 1. Fill in the applicable yellow cells in table below with each kit or product name and model number in Column B (please list the kits from smallest to largest power). 2. In Rows 6 - 15, include the name and model number of each component included in the "family of products". 3. Enter the number of each component that is included in each kit in yellow cells. 4. Add rows or columns as needed. 5. These tests are all optional. Please see the"Optional Testing Guide" for details on optional tests here: https://verasol.org/wp-content/uploads/2024/08/Product-Variation-Details-Guide-240606-V1.pdf. Additional testing may increase testing costs and include additional VeraSol fees.
| Product/Kit Name & Model Number | Does this kit need a Wh/day calculation? | Light Points |  |  |  | Batteries |  |  |  | Control Unit and Housing |  |  |  | Appliances
|  | [yes/no] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #5] | [Name / Model #6] | [Name / Model #7] | [Name / Model #8]
STEP 2 |  |  | Please fill in the applicable and relevant information below for each component in the product family in the yellow cells. Please ensure that the names of the components match those listed above in STEP 1. The grey cells do not need to be filled in. For rows that are not applicable to the component, enter "n/a".
| Element |  | Light Point 1 | Light Point 2 | Light Point 3 | Light Point 4 | Battery 1 | Battery 2 | Battery 3 | Battery 4 | Control Unit 1 | Control Unit 2 | Control Unit 3 | Control Unit 4 | Appliance 1 | Appliance 2 | Appliance 3 | Appliance 4 | Appliance 5 | Appliance 6 | Appliance 7 | Appliance 8
|  |  | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #] | [Name / Model #]
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: The highest setting will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Electronic Circuits
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Additional features / accessories / appliances
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)?
Charging efficiency testing for products appliances with internal batteries that charge from the main unit can be requested. Would you like the lab to test ant of the appliances for charging efficiency?
For appliances with light points: Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characterstics for light points.
Additional ESC Profiles
| Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations. |  | Combination 1 |  |  |  | Combination 3 |  |  |  | Combination 4 |  |  |  | Combination 5 |  |  |  | Combination 6

## Data Validation (hidden)
Yes
No

## Referencing PV results no IEC (hidden)
Internal Notes
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Rate Specifications (Wp, Isc, Voc at STC)
PV Module Manufacturer
Strain Relief type (indicate any changes)
PV module cable manufacturer and markings
Any other differences in the PV module?
Does the PV module have IEC 61730 or IEC 61215 certification? (Yes/No) and which certificate you have. If you do not have the certificate and would like to REFERENCE RESULTS answer the remaining questions below. If you have IEC 61215, please answer only the blue cells.
Wiring inspection: Please provide a description of the wire used with the PV module. Include; wire gauge, conductor material, conductor diameter
Durability of markings: What technology (give example) is used to make the markings? What adhesive is used to attach the markings?
Sharp edge test: What material is the PV module made of and what is the manufacturing process?
Impact Test: What is the length and width of the module? Please include units (e.g. cm, in, etc)
Impact Test/partial shading: What is the encapsulant material composition?
Impact Test/Partial shading: What is the substrate thickness or material?
Partial Shading: What bonding techniques or solder materials are used?
Partial shading: Has there been a change to interconnection circuitry (for example more cells per bypass diode or re-routing of output leads) or reconfiguration of voltage
Partial Shading: Are there any changes to the cell process? What are the dimensions of the PV module?
Bending or folding: If the PV module bends or is foldiblle answer the following questions
Describe the hinge and joint used in the PV module
What is the radius of curvature of the PV module?
What materials were used to consturct the PV module.
Note on A13: Tanya Garcia: IEC 61730 is now IEC TS 62915? KT: no. I think the directions in this cell need to be clarified. If they have IEC docs for one PV module but not others in the family we need them to answer these questions. If they have IEC 61215 only we are going to test the blue cell for one PV module, but might be able to reference for the other PV modules if they answer the questions. So I think they need to answer all the rows regardless of if they have IEC 61215 or 61730.
Note on A15: Tanya Garcia: NOTE: durability, sharp edge and screw connection (not counted in 61215) KTvvv:Not sure what your comment means. My understanding is that if they submit IEC 61215, we don't need to do the durability and sharp edge test. So this row could also be moved to the Referencing PV results no IEC tab. a TG 5/6: Looking at comments in the Test Plan template, we do not accept IEC 61215 for the 1) Durability of MArkings test 2) Sharp Edge Test or 3) Screw Connection Test. Tom has confirmed this. KT: We do accept IEC 61730 for the durability of markings and sharp edge test.
Note on A16: Tanya Garcia: Tom's note was. "I think we could reference this if the modules have the same manufacturing processes and are made with the same materials. On the other hand, it's really a trivial addition to the visual screening." I'm not sure if its worth asking a question, I think we would get generic answers. I'm leaning to not ask this. KT: I think we should leave it but move it to the referencing tab. If we delete it, I could see someone pushing us to reference that test and we won't have the info about what we need to know. If they really want to reference, they can fill it in.
Note on A22: Tanya Garcia: Toms notes was: " Higher power output (by 10% or more) in the identical package including size and using the identical cell process TG: I'm unsure how to reword this into a question. I don't think manufacturers will know if the PV cell provides more power. KT: I don't know what Tom's comment means either, maybe clarify with him. TG: Tom is going to ask Arne to pruchase IEC TS 62915 which is where he got all of this information from. IEC 62915 may have changed some of these requirements since Tom gave us this guidance. He also said, " I think if we ask whether there are any changes to the cell process and whether the dimensions of the PV module are different, then we would have the all the information we would need." Which I incorporated into the cell. I would make these two separate rows, since you are asking 2 different questions.