## (KIT) Similar products
INSTRUCTIONS FOR FILLING THE FORM: 1. This tab is for cases where you are testing products that are similar to ones that were previously tested or similar to ones that will undergoing testing simultaneously and you are interested in referencing results to reduce the amount of testing required. Include the name of the product that will be, or has already been, fully tested (from which you want to reference results) in Column C. [If you are only testing a single kit or a family of products, use the "(Family & Kit)Variation Details" tab instead.] 2. Include the name of the products you are submitting for testing (the variation of the Product in Column C) in Column D, E, F, etc. 3. Provide information for ALL yellow cells for each product variation. 4. If you are creating a product family or renewing/QTM testing a kit, answer these questions in the Family Variation Details sheet. 5. Optional testing may be requested on either of the Optional Testing tabs. Optional tests are available for lights, appliances, standby loss, additional solar charging efficiency measurements, and additional energy service calculation scenarios.
| Element | Primary Product/Kit | Current Variation 1 | Current Variation 2 | Current Variation 3 | Current Variation 4
|  | Enter the kit that you want to be fully tested here that will have results referenced | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product.
|  | [insert name] | [insert name] | [insert name] | [insert name] | [insert name]
Performance
Full-battery run time for each light output level
Solar run time for each light output level
Any other differences in the performance?
Light source
Light point type 1
Number of brightness settings
Luminous flux for each light output level
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Light point housing size and lens cover type
Strain relief type
Is there a constant current regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range [V]
Type and LED part number (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of LEDs per lamp
Drive current per LED (mA)
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Any other differences between the light points?
Light point type 2
Number of brightness settings
Luminous flux for each light output level
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Light point housing size and lens cover type
Strain relief type
Is there a constant current regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range [V]
Type and LED part number (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of LEDs per lamp
Drive current per LED (mA)
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Any other differences between the light points?
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Cell technology (eg PERC, TOPCon, etc..) List all if multiple
Power (Pmax) at STC [W]
Short-circuit current (Isc) at STC [A]
Open-circuit voltage (Voc) at STC [V]
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Strain relief / junction box type (indicate any differences between PV modules)
PV module cable manufacturer / markings (indicate any changes between PV modules)
Any other differences between the PV modules?
Does the PV module cable contain any connectors that are intended to be used outdoors?
Is the PV module designed to bend or fold?
Does the PV module have IEC 61730, IEC 61215, or IEC 62790 certification? (Yes/No) If Yes, list which certificates you have.
Other Energy Source
Type (e.g. mechanical dynamo, AC grid, etc.)
Additional details
Battery
Battery capacity (mAh) (pack level)
Cell capacity (mAh)
Number of cells in series
Number of cells in parallel
Battery chemistry (e.g. VRLA, Li-ion, NiMH, etc.)
Battery nominal voltage (V) (pack)
Cell nominal voltage (V)
Battery cell size (e.g.14500, 26500, 32700)
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Does the battery have individual cell overvoltage protection?
Does the battery have cell balancing?
If present, where is the cell balancing circuitry located?
Is the battery easily accessible? If not, how can the lab access the battery for testing?
Can the battery be isolated from the system by the user or installing technician without opening an enclosure that is not intended to be opened during installation, operation, or routine maintenance?
Is the battery connected to the system in such a way that it can become disconnected during shipping, installation, or normal operation and maintenance?
Any additional details?
Any other differences between the batteries?
Electronic Circuits
Battery charge control or charge management (specific IC part number [preferred] or general description)
Maximum charging voltage (overvoltage protection [OVP] voltage) [V]
Low-voltage disconnect voltage [V]
Does the product use coloumb counting for the charge/discharge cycles?
Does the product use PWM to control charging, power output or any other aspects? If yes, please briefly describe.
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with low-power sleep or standby mode: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? (When lower standby loss measurements are used as inputs to the Energy Service Calculations, the Wh/day and runtimes estimated for the product may increase).
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Balance of system components
Switches information (number, type, changes to manufacturer, etc.)
Cable information (other than PV modules) (number, length, type, changes to manufacturer, etc.)
Connector information (number, type, changes to manufacturer, etc.)
Does the product include an AC-DC power supply?
Any other differences in system components?
Ports
USB ports
Types and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is this port primarily for a purpose other than powering or charging appliances or mobile devices?)
What appliances is this port advertised to power or charge?
Is this a fast charging port?
Type of voltage regulation (unregulated, linear, DC-DC converter)
Voltage regulator IC part number
Any other difference in the ports regulation?
DC port type 1
Type and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
DC port type 2
Type and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
If there are additional DC port types, please list them and answer the same questions as above.
Other ports
Other ports (number and type)
Other ports (voltage and current range)
Is this DC port an output port? (intended for charging or powering appliances?)
Ports directly powered by PV module
Are any of the ports powered directly by the PV module? If Yes - Which ports?
What appliances is this port advertised to power or charge?
Type of voltage regulation (unregulated, linear, DC-DC converter)
Voltage regulator IC part number
Any other difference in the ports regulation?
Housing
Material
Size (dimensions)
Handle(s) (description)
Ingress protection (e.g. gaskets, double flange, etc.)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the housing?
Consumer Facing Ratings
Ingress protection advertised on the packaging/user manual/website (e.g. IPXX, waterproof, dustproof, water resistant etc.)
Does the product advertise how long it takes to charge from an external DC power source?
Does the product advertise how long it takes to charge from an AC-DC power supply?
Any other packaging differences?
Additional features / accessories / appliances
Does the component have PayG function? (Yes/ No)
Does the component have any security features that might impede testing? If so, describe them.
Does the product include any Non-plug-and-play components? (describe any non-plug and play connections. See the non-plug-and-play policy for details at https://verasol.org/publications/non-plug-and-play-terminals-policy/)
Any other additional features the test lab or VeraSol should be aware of?
Optional testing may be requested on the “Optional Testing-Kit” tab. Optional tests are available for lights, appliances, standby loss, additional solar charging efficiency measurements, and additional energy service calculation scenarios. Note that Additional testing may increase testing costs and include additional VeraSol fees.
Company Contact Information and Product Availability
Any change to company name, contact person, email, phone number or address? (Renewal Only)
Company Name for the product and/or product family being tested
Does the product and/or product family have a separate consumer-facing brand name on the packaging or user manual? If so, please indicate it here. Note: The consumer-facing brand name will be the name that appears on the VeraSol website upon certification.
Company contact (name and email)
Company headquarters physical / mailing adress
Product website url
Does your company own the product IP rights to the product (and family, if applicable)?
Point of origin where product(s) typically ship from
Indicate where product is (or will be) available for sale in.
| List contact information for 2-3 distributors who are selling your product(s). |  | Distributor 1 | Distributor 2 | Distributor 3

## Optional Testing-Sim Products
Optional Testing: These tests are not required. Additional testing may increase testing costs and include additional VeraSol fees.
THIS FORM IS NOT REQUIRED AND IS FOR OPTIONAL TESTING ONLY INSTRUCTIONS FOR FILLING THE FORM: 1. Include the name of the product that will be, or has already been, fully tested (from which you want to reference results) in Column C. 2. Include the name of the products you are submitting for testing (the variation of the Product in Column C) in Column D, E, F, etc. 3. If you are creating a product family or testing a kit that will not reference results from a previously tested kit, answer these questions in the Optional Testing-Family&Renewal sheet. 4. These tests are all optional. Please see the"Optional Testing Guide" for details on optional tests here: https://verasol.org/wp-content/uploads/2024/08/Product-Variation-Details-Guide-240606-V1.pdf.
| Element | Primary Product/Kit | Current Variation 1 | Current Variation 2 | Current Variation 3 | Current Variation 4
|  | Enter the kit that you want to be fully tested here that will have results referenced | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product. | Enter the kit that will be tested and is similar to the Primary Product.
|  | [insert name] | [insert name] | [insert name] | [insert name] | [insert name]
Light source
Light point type 1
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: Up to three settings (the highest, lowest, and one intermediate setting) will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Light point type 2
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: The highest setting will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Electronic Circuits
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? (When lower standby loss measurements are used as inputs to the Energy Service Calculations, the Wh/day and runtimes estimated for the product may increase).
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Additional features / accessories / appliances
Charging efficiency testing for appliances with internal batteries that charge from the main unit can be requested. Would you like the lab to test ant of the appliances for charging efficiency?
Additional ESC Profiles
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
| Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations. |  | Combination 1 |  | Combination 2
|  |  | Combination 3 |  | Combination 4

## (Family & kit)Variation Details
STEP 1 |  |  | 1. Fill in the applicable yellow cells in table below with each kit or product name and model number in Column B Rows 7-16 (please list the kits from smallest to largest power if for a family). 2. In Row 6, Columns D - AA, include the name and model number of each component included in the "family of products" or kit. 3. Enter the number of each component that is included in each kit in yellow cells in columns D - AA where applicable. 4. Add rows or columns as needed.
| Product/Kit Name & Model Number | Does this kit need a Wh/day calculation? | Light Points |  |  |  | PV Modules |  |  |  | Batteries |  |  |  | Control Unit and Housing |  |  |  | Appliances | [7 empty] | Kit URL (website url where kit is advertised/posted for sale)
|  | [yes/no] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #5] | [Name / Model #6] | [Name / Model #7] | [Name / Model #8]
STEP 2 |  |  | Please fill in the applicable and relevant information below for each component in the product family in the yellow cells. Please ensure that the names of the components match those listed above in STEP 1. The grey cells do not need to be filled in. For rows that are not applicable to the component, enter "n/a".
| Element |  | Light Point 1 | Light Point 2 | Light Point 3 | Light Point 4 | PV Module 1 | PV Module 2 | PV Module 3 | PV Module 4 | Battery 1 | Battery 2 | Battery 3 | Battery 4 | Control Unit 1 | Control Unit 2 | Control Unit 3 | Control Unit 4 | Appliance 1 | Appliance 2 | Appliance 3 | Appliance 4 | Appliance 5 | Appliance 6 | Appliance 7 | Appliance 8
|  |  | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #5] | [Name / Model #6] | [Name / Model #7] | [Name / Model #8]
Has this component been previously tested?
Full-battery run time for each light output level
Solar run time for each light output level
Any other differences in the performance?
Light source
Number of brightness settings
Luminous flux for each light output level
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Light point housing size and lens cover type
Strain relief type
Is there a constant current regulator (driver) in the lamps? (yes/no)
Operating voltage or voltage range [V]
Type and LED part number (e.g. high/low power LED, through-hole/surface mount LED, CFL, etc.)
Number of LEDs per lamp
Drive current per LED (mA)
LED Manufacturer
Additional details (e.g. optics, etc.)
Preferred Lumen Maintenance testing method Note: Optional 2000 hr testing is offered, but not required. Additional testing may increase testing costs and include additional VeraSol fees.
Does the lighting appliance have IEC 60598-1 certification?
Any other differences between the light points?
Energy Source
PV Module
Type (e.g. mono-si, poly-si, amorphous, etc.)
Cell technology (eg PERC, TOPCon, etc..) List all if multiple
Power (Pmax) at STC [W]
Short-circuit current (Isc) at STC [A]
Open-circuit voltage (Voc) at STC [V]
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Strain relief / junction box type (indicate any differences between PV modules)
PV module cable manufacturer / markings (indicate any changes between PV modules)
Any other differences between the PV modules?
Does the PV module cable contain any connectors that are intended to be used outdoors?
Is the PV module designed to bend or fold?
Does the PV module have IEC 61730, IEC 61215, or IEC 62790 certification? (Yes/No) If Yes, list which certificates you have.
Other energy source
Type (e.g. mechanical dynamo, etc.)
Any additional details?
Battery
Battery capacity (mAh) (pack level)
Cell capacity (mAh)
Number of cells in series
Number of cells in parallel
Battery chemistry (e.g. VRLA, Li-ion, NiMH, etc.)
Battery nominal voltage (V) (pack)
Cell nominal voltage (V)
Battery cell size (e.g.14500, 26500, 32700)
Number of original equipment manufacturer(s) (OEMs)
Original equipment manufacturer(s) (OEMs). List all if multiple
Does the battery have individual cell overvoltage protection?
Does the battery have cell balancing?
If present, where is the cell balancing circuitry located?
Is the battery easily accessible? If not, how can the lab access the battery for testing?
Can the battery be isolated from the system by the user or installing technician without opening an enclosure that is not intended to be opened during installation, operation, or routine maintenance?
Is the battery connected to the system in such a way that it can become disconnected during shipping, installation, or normal operation and maintenance?
Any additional details?
Any other differences between the batteries?
Electronic Circuits
Battery charge control or charge management (specific IC part number [preferred] or general description)
Maximum charging voltage (overvoltage protection [OVP] voltage) [V]
Low-voltage disconnect voltage [V]
Does the product use coloumb counting for the charge/discharge cycles?
Does the product use PWM to control charging, power output or any other aspects? If yes, please briefly describe.
Optional Testing: Additional testing may increase testing costs and include additional VeraSol fees.
Additional standby loss testing for products with low-power sleep or standby mode: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? (When lower standby loss measurements are used as inputs to the Energy Service Calculations, the Wh/day and runtimes estimated for the product may increase).
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Balance of system components
Switches information (number, type, changes to manufacturer, etc.)
Cable information (other than PV modules) (number, length, type, changes to manufacturer, etc.)
Connector information (number, type, changes to manufacturer, etc.)
Does the product include an AC-DC power supply?
Any other differences between the system components?
Ports
USB ports
Types and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is this port primarily for a purpose other than powering or charging appliances or mobile devices?)
What appliances is this port advertised to power or charge?
Is this a fast charging port?
Type of voltage regulation (unregulated, linear, DC-DC converter)
Voltage regulator IC part number
DC port Type 1
Type and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
DC port Type 2
Type and number of each type
Voltage range [V]
Maximum current [A]
Is this an output port? (Is it intended for charging/powering appliances?)
What appliances is this port advertised to power or charge?
Any other difference in the ports regulation?
Other ports
Other ports (number and type)
Other ports (voltage and current range)
Is this DC port an output port? (intended for charging or powering appliances?)
Ports directly powered by PV module
Are any of the ports powered directly by the PV module? If Yes - Which ports?
What appliances is this port advertised to power or charge?
Type of voltage regulation (unregulated, linear, DC-DC converter)
Voltage regulator IC part number
Housing
Material
Size (dimensions)
Handle(s) (description)
Ingress protection (e.g. gaskets, double flange, etc.)
Have any changes been made to the manufacturing process? If so, what changes have been made?
Any other differences in the housing?
Consumer Facing Ratings
Ingress protection advertised on the packaging/user manual/website (e.g. IPXX, waterproof, dustproof, water resistant etc.)
Does the product advertise how long it takes to charge from an external DC power source?
Does the product advertise how long it takes to charge from an AC-DC power supply?
Any other packaging differences?
Additional features / accessories / appliances
Does the component have PayG function? (Yes/ No)
Does the component have any security features that might impede testing? If so, describe them.
Does the product include any Non-plug-and-play components? (describe any non-plug and play connections. See the non-plug-and-play policy for details at https://verasol.org/publications/non-plug-and-play-terminals-policy/)
Any other additional features the test lab or VeraSol should be aware of?
Optional testing may be requested on the “Optional Testing-Family&Renewal” tab. Optional tests are available for lights, appliances, standby loss, additional solar charging efficiency measurements, and additional energy service calculation scenarios. Note that Additional testing may increase testing costs and include additional VeraSol fees.
Company Contact Information and Product Availability
Any change to company name, contact person, email, phone number or address? (Renewal Only)
Company Name for the product and/or product family being tested
Does the product and/or product family have a separate consumer-facing brand name on the packaging or user manual? If so, please indicate it here. Note: The consumer-facing brand name will be the name that appears on the VeraSol website upon certification.
Company contact (name and email)
Company headquarters physical / mailing adress
Product website url
Does your company own the product IP rights to the product (and family, if applicable)?
Point of origin where product(s) typically ship from
Indicate where product is (or will be) available for sale in.
| List contact information for 2-3 distributors who are selling your product(s). |  | Distributor 1 | Distributor 2 | Distributor 3

## Optional Testing-Family&Renewal
Optional Testing: These tests are not required. Additional testing may increase testing costs and include additional VeraSol fees.
STEP 1 |  |  | THIS FORM IS NOT REQUIRED AND IS FOR OPTIONAL TESTING ONLY 1. Fill in the applicable yellow cells in table below with each kit or product name and model number in Column B (please list the kits from smallest to largest power). 2. In Rows 6 - 15, include the name and model number of each component included in the "family of products". 3. Enter the number of each component that is included in each kit in yellow cells. 4. Add rows or columns as needed. 5. These tests are all optional. Please see the"Optional Testing Guide" for details on optional tests here: https://verasol.org/wp-content/uploads/2024/08/Product-Variation-Details-Guide-240606-V1.pdf. Additional testing may increase testing costs and include additional VeraSol fees.
| Product/Kit Name & Model Number | Does this kit need a Wh/day calculation? | Light Points |  |  |  | Batteries |  |  |  | Control Unit and Housing |  |  |  | Appliances
|  | [yes/no] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #5] | [Name / Model #6] | [Name / Model #7] | [Name / Model #8]
Optional Tests |  |  | Please fill in the applicable and relevant information below for each component in the product family in the yellow cells. Please ensure that the names of the components match those listed above in STEP 1. The grey cells do not need to be filled in. For rows that are not applicable to the component, enter "n/a".
| Components: |  | Light Point 1 | Light Point 2 | Light Point 3 | Light Point 4 | Battery 1 | Battery 2 | Battery 3 | Battery 4 | Control Unit 1 | Control Unit 2 | Control Unit 3 | Control Unit 4 | Appliance 1 | Appliance 2 | Appliance 3 | Appliance 4 | Appliance 5 | Appliance 6 | Appliance 7 | Appliance 8
|  |  | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4] | [Name / Model #1] | [Name / Model #2] | [Name / Model #3] | [Name / Model #4]
Would you like additional settings of this light point to be tested for light output? Note: The highest setting will already be tested by default.
Would you like additional settings of this light point to be tested for power consumption? Note: Up to three settings (the highest, lowest, and one intermediate setting) will already be tested by default.
Would you like this light point to be tested for light distribution? This test determines the full width half maximum angles and/or average light distribution characteristics for light points.
Electronic Circuits
Additional standby loss testing for products with multiple standby loss modes: Would you like the lab to repeat the standby loss test after reaching low-power mode(s)? (When lower standby loss measurements are used as inputs to the Energy Service Calculations, the Wh/day and runtimes estimated for the product may increase).
Maximum solar operation efficiency measurement: Products that are designed to supply additional PV energy directly to daytime loads while bypassing the battery will receive a more accurate solar operation efficiency measurement with this test. Would you like the lab to conduct this test?
Additional features / accessories / appliances
Charging efficiency testing for appliances with internal batteries that charge from the main unit can be requested. Would you like the lab to test ant of the appliances for charging efficiency?
Additional ESC Profiles
| Companies may request additional specific energy service calculation (run time) scenarios be conducted for additional usage profiles. If you like like additional ESC scenarios to be tested, describe the combinations. |  | Combination 1 |  |  |  | Combination 3 |  |  |  | Combination 4 |  |  |  | Combination 5 |  |  |  | Combination 6
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: On this tab, can we get rid of the Step 1 section and change the “Step 2” header to “Optional tests”

## Data Validation (hidden)
Yes
No